## LP
Customer : | LPH
Site Name : | LPH Days1
Serial Meter : | WP076996
Setting : | 1
Load Profile :
Name | Date/Time | Import kWh Active | Import kWh Reactive | Export kWh Active | Export kWh Reactive | (Average Power Factor Avg | Voltage L1 (V) | Voltage L2 (V) | Voltage L3 (V) | Current L1 (A) | Current L2(B) | Current L3 (C) | Avg Phase Angle Ph-A | Avg Phase Angle Ph-B | Avg Phase Angle Ph-C | Frequency (Hz) | Record Status | Import kW Active | Import kVar Reactive | Export kW Active | Export kVar Reactive | Voltage L1-L2 | Voltage L2-L3 | Voltage L3-L1
2025-04-01
2025-04-01 00:15
2025-04-01 00:30
**** เพิ่มดึงคือสีแดงด้านหลัง

## BL
Customer : | LPH
Site Name : | LPH Days1
Serial Meter : | WP076996
Setting : | 1
Billing :
Record No | Time | 111 Billing total kWh Total | 010 Billing total kWh Rate A | 020 Billing total kWh Rate B | 030 Billing total kWh Rate C | Billing total Export kWh Total | Billing total Export kWh Rate A | Billing total Export kWh Rate B | Billing total Export kWh Rate C | 050 Previous kW demand Rate A | 050T Previous Time of kW deman | 060 Previous kW demand Rate B | 060T Previous Time of kW deman | 070 Previous kW demand Rate C | 070T Previous Time of kW deman | 015 Cumul kW demand Rate A | 016 Cumul kW demand Rate B | 017 Cumul kW demand Rate C | 222 Billing total Varh Total | 280 Previous Var demand Total | 280T Previous Time of Var dem | 118 Cumul Var demand Total | Record Status
1 | 5/1/2025 00:00 | 9587.1515 | 6205.1097 | 652.9037 | 2729.1381 |  |  |  |  | 33.5685 | 4/13/2025 12:45 | 19.7535 | 4/2/2025 19:00 | 32.5495 | 4/2/2025 19:00 | 62.6183 | 35.3778 | 60.7051 | 132.4406 | 0.8198 | 4/4/2025 06:30 | 1633.5832 | ..........
2 | 6/1/2025 00:00 | 14336.9229 | 8961.9877 | 997.4511 | 4377.4841 |  |  |  |  | 33.153 | 5/18/2025 11:45 | 22.7075 | 5/9/2025 19:15 | 32.8489 | 5/9/2025 19:15 | 95.7713 | 58.0853 | 93.554 | 204.9894 | 0.8168 | 5/20/2025 06:15 | 2450.3736 | ..........
3 | 7/1/2025 00:00 | 19046.5419 | 11701.5162 | 1388.6437 | 5956.382 |  |  |  |  | 32.4089 | 6/3/2025 12:15 | 21.7453 | 6/28/2025 19:30 | 31.3578 | 6/19/2025 19:30 | 128.1802 | 79.8305 | 124.9118 | 271.6662 | 0.8106 | 6/27/2025 06:15 | 3261.0236 | ..........
4 | 8/1/2025 00:00 | 23040.8535 | 14067.8637 | 1665.4875 | 7307.5023 |  |  |  |  | 32.7831 | 7/12/2025 13:00 | 20.5917 | 7/27/2025 19:15 | 32.709 | 7/22/2025 19:15 | 160.9633 | 100.4222 | 157.6209 | 347.8208 | 0.8143 | 7/1/2025 06:30 | 4075.3136 | ..........
**** เพิ่มดึงคือสีแดง